## Sheet 1
Table 1
|  | GE Lightspeed | https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=6&cad=rja&uact=8&ved=0CD4QFjAFahUKEwiurYC20PHHAhUCTD4KHWOKA1k&url=http%3A%2F%2Fnhscep.useconnect.co.uk%2FShowDocument.ashx%3Fid%3D148%26i%3Dtrue&usg=AFQjCNEpmpWDj7tfZQhs-jXsXIWBQjmQgQ&bvm=bv.102537793,d.cWw | http://www.impactscan.org/reports/full/MDA02020.pdf
| GE LightSpeed Xtra | GE LightSpeed Xtra | Philips Brilliance Big Bore | Siemens SOMATOM Sensation Open (24 /40) | Toshiba Aquilion LB | Spec #
Aperture [cm] | 80 | 80 | 85 | 82 | 90 | 1.x
Focus-isocentre distance [mm] | 606 | 606 | 645 | 570 | 712 | 1.x
Focus-detector distance [mm] | 1062.5 | 1062.5 | 1183 | 1040 | 1275 | 1.x
Maximum reconstruction field of view at full image quality [mm] | 50 | 50 | 50 | 50 | 50 | 10.2
Reconstruction matrices | 512 X 512 | 512 X 512 | 512^2, 768^2, 1024^2 | 512 X 512 | 512 X 512 | 10.4
L_eff (d=150 mm) | 62.3762 | 623.7624 | 61.6279 | 63.1579 | 60.5337
% incr. | 24.7525 | 24.7525 | 23.2558 | 26.3158 | 21.0674
Note on D9: Author: Std & high res: 500 , 600